| Error Number |  |  | Error Content |
| --- | --- | --- | --- |
| Normal | P Type | JW Type |  |
| 105 |  |  | Initialization failed |
| 106 |  |  | Battery is fault |
| 107 |  |  | Touch screen adjustment is not completed yet |
| 108 |  |  | Clock setting is not completed yet |
| 109 |  |  | Printer 1 initialization was not done yet |
| 110 |  |  | Machine setting is not completed |
| 111 |  |  | The display confirmation is not completed |
| 112 |  |  | Confirm operation of the tactile keyboard |
| 114 |  |  | Data composition is different |
| 118 |  |  | The country has not been selected |
| 121 |  |  | FAN is abnormal |