| Error Number |  |  | Error Content |
| --- | --- | --- | --- |
| Normal | P Type | JW Type |  |
| 1502 |  |  | No response from tray detector |
| 1503 |  |  | Problem on tray detector |
| 1504 |  |  | Blackout for the power |
| 1505 |  |  | Tray detector detected blackout |
| 1506 |  |  | Cannot connect with camera unit |
| 1507 |  |  | Problem on tray detector |
| 1530 |  |  | Sum value for receiving is abnormal |
| 1531 |  |  | Writing for flash ROM is busy |
| 1532 |  |  | Failed in writing in flash ROM |
| 1533 |  |  | Problem on tray detector |
| 1534 |  |  | Automatic adjustment |
| 1535 |  |  | Automatic adjustment is completed |
| 1537 |  |  | Automatic adjustment cannot be completed |